Your Ref:

Our Ref:	FS/<-JT->/JS/<<-N1/SP/003471->> (475944)

Date:		3rd July 2017

| Carys Tavener Business Safety Hull Humberside Fire & Rescue Service Room 98C The Guildhall Alfred Gelder Street Kingston Upon Hull HU1 2AA www.humbersidefire.gov.uk |  |
| --- | --- |
| The person dealing with this matter is: <-Jenny Townsend-> Business Safety Inspector |  |
| Tel: | 01482 615146 |
| E-Mail: | jtownsend@humbersidefire.gov.uk |

Hull 2017 UK City of Culture

Pacific Exchange

40 High Street

Hull

HU1 1PS

Dear Madam

REGULATORY REFORM (FIRE SAFETY) ORDER 2005

LICENSING ACT 2003 - PREMISES LICENCE

NEW APPLICATION (GRANT)

PREMISES:	West park

<<-Anlaby Road

Kingston Upon Hull->>

<<-HU3 6HU->>

LICENSING ACT 2003

The application and enclosures in relation to the above mentioned premises which were received in this office on the 19th June 2017 are acknowledged and the Fire Authority make the following comments.

From the information provided the proposals with regards to Public Safety are considered acceptable to the Fire Authority.

### REGULATORY REFORM (FIRE SAFETY) ORDER 2005

Fire Risk Assessment

It is a requirement that the responsible person must make a suitable and sufficient assessment of the risks to which relevant persons are exposed for the purpose of identifying the general fire precautions which are necessary to comply with the requirements and prohibitions imposed on him by or under this order and record the prescribed information

The following should be considered as essential to any such fire risk assessment:

Means of Escape

An effective means of giving warning in case of fire that is perceptible throughout the premises and capable of being operated without exposing anyone to undue risk, is required.

Means of Giving Warning of Fire

Exit routes must be kept clear at all material times.

### Emergency Lighting

If the premises are to be used during hours of darkness, and there is insufficient borrowed lighting, a suitable emergency lighting system must be provided in those areas and their associated escape routes, including external escape routes.

### Fire Fighting Equipment

Adequate measures for fire-fighting must be established. They must be identified through a process of risk assessment and must be appropriate for the size of the undertaking, the size of the premises and the nature of the activities carried out.

The premises will form part of the Fire Authority’s “risk based” assessment and inspection

programme and therefore the application will be held on file for reference purposes. In the meantime your attention is drawn to the publication ‘Fire Safety Risk Assessment – Open Air Events and Venues (ISBN No. 13: 978 85112 823 5)’ which provides information for the responsible person about The Regulatory Reform (Fire Safety) Order 2005.  This publication is available from The Stationery Office or by downloading it from the Internet at:

https://www.gov.uk/workplace-fire-safety-your-responsibilities/fire-safety-advice-documents

Should the application include a change of use, structural alterations or change of the internal layout that affects the means of escape, you are advised to consult the Local Authority Building Control Department for further advice.

If you are not the responsible person for these premises, you should ensure that this letter and its contents are forwarded to that person.

If you require further advice or clarification of any of these matters, please contact the Fire Safety Inspector at the address overleaf.

Yours faithfully

# for the Chief Fire Officer  & Chief Executive

Copy to:

Public Protection Division