School of Chemistry

## ANALYSING THE COPPER CONTENT OF BRASS

- Introduction

Brass is an alloy of copper and zinc. This alloy has many uses ranging from coinage to non-ferrous fittings on ships. Many domestic taps use brass where contact with water occurs.

You are provided with a sample of brass which is about 150 years old and you are asked to quantitatively analyse it, using colorimetry, to find the percentage of copper present.

- Method

You are provided with a sample of brass powder that has supposedly been filed from a piece of antique brass! 

- Using a fume cupboard, place 30 cm3 of distilled water into a 250 cm3 conical flask and slowly add 15 cm3 of concentrated nitric acid to it. Stir the mixture using a glass rod.

- Weigh out, accurately known to 2 decimal places, about 1.5g of the antique brass powder.

- Add these slowly to the diluted nitric acid in the fume cupboard.

- Leave the mixture for some minutes until all the brass has ‘dissolved’. During this procedure poisonous brown nitrogen dioxide gas is given off and a blue solution containing copper (Cu2+) and zinc (Zn2+) ions is produced. Swirling the flask occasionally will aid the dissolution of the gas.

- Remove the solution from the flask and quantitatively add it to some distilled water in a 250 cm3 volumetric flask. Make the flask up to the mark using distilled water and mix well.

- Weigh out accurately to 2 decimal places between 2.47 – 2.49g of hydrated copper sulphate, place in a 100 cm3 beaker and dissolve in approx. 50 cm3 of distilled water. Add this solution to a 100 cm3 volumetric flask and make up to the mark with distilled water. This solution contains 1.6g of copper (as Cu2+ ions) in 250 cm3 of solution.

- Dilute this copper sulphate solution with distilled water to make the solutions labelled a to f in the table below. This dilution is to be done accurately using appropriate apparatus, with mixing. We suggest putting the copper sulphate solution in a burette, then dispensing the amounts required into 6 labelled sample tubes. Rinse out the burette, refill with distilled water and then add the required amount of water to each tube.

- Set up the colorimeter using the instruction card provided.

- Fill the cuvette with distilled water, place it in the machine and run the baseline sample.

- Repeat with each of your samples f – a and record the % transmittance of each (the large red number at the top left of the display). It is very important that you run the samples in this order!

| Author | Peter Hoare |
| --- | --- |
| Owners | Royal Society of Chemistry / Newcastle University |
| Title | Analysis of Copper Content of Brass |
| Classification | Chemistry Outreach Experiment |
| Keywords | ukoer, sfsoer, outreach, analysis, chemistry, colorimetry |
| Description | Student instruction sheet |
| Creative Commons Licence | http://creativecommons.org/licenses/by-nc-nd/2.0/uk/ |
| Language | English |
| File size | 553 kB |
| File format | Word 2003 doc |